MCD202015T6CV3

VLT® Compact Starter MCD 202

15 kW 34A:4-6: 354

Three phase, 200-575 VAC

Control voltage: 110/240 VAC or 440 VAC

- A-Frame

Product Group	MCD	VLT® Soft Starter MCD

MCD Series	202	202

Power Rating	015	15 kW 34A:4-6: 354

Phase	T	Three phase

Mains Voltage	6	200-575 VAC

Control Supply Voltage	CV3	110/240 VAC or 440 VAC

Frame Size	A	(A) A-Frame

Typecode Part 1		MCD202015T6CV3

Product Catalog	NO_VIEW	NO VIEW

Modelcode01		MCD202015T6CV3